## Slide 1: Optimizing Radical Evolution for Polarized Targets TOPAS Geant4 – Monte Carlo Simulation Samuel Takwirira, Mentored by Dr. Karl Slifer Nuclear Physics Group
Figures
Methods
Introduction
References
.
      Samuel.Takwirira@unh.edu, Karl.Slifer@unh.edu
Discussion
Context: Dynamic Nuclear Polarization (DNP) is a critical technique used to significantly enhance the sensitivity of Magnetic Resonance signals.
Problem: While radicals are essential for polarization, the process used to create them can also inadvertently destroy them [1], [3].
Aim: We aim to ensure a stable dose distribution for optimized DNP enhancement.
Monte Carlo Simulation (TOPAS) – To optimize radical production for DNP, we use TOPAS (Tool for Particle Simulation), a Geant4-based Monte Carlo platform [2].
The simulation is configured via parameter files using the g4em-standard_opt4 physics module to provide high-precision tracking of electron trajectories, energy loss, and interactions within the defined World volume.
Data Analysis & Visualization – The simulation outputs absorbed dose in CSV format. Data is processed in MATLAB to evaluate dose distribution.
Depth-Dose Curves – Plotted to determine energy deposition vs. material depth.
2D Mapping – Generated using MATLAB’s imagesc function to visualize spatial dose uniformity across the target material.
Radiation damage in polarized target materials, London GW, et al NIM A. 1994.
TOPAS: An innovative proton therapy simulation framework, Perl J, et al. Med Phys. 2012;39(11):6818-35.
Solid Polarized Targets for Nuclear and Particle Physics, Crabb DG, Meyer W, Annu. Rev. Nucl. Part. Sci. 1997. 47:67-109.
First Use of a Longitudinally Polarized Target with CLAS12 C.D Keith, J. Brock, C. Carlin, T. Kageya, V. Lagerguist, J. Maxwell, and P. Pandey
Contacts
The dose at a depth (blue axis in Fig 1.01) is
: Electron fluence at depth and energy .
Mass collision stopping power (energy lost to ionization/excitation)
Fig. 1.03 – Details on target set up [4].
Fig. 1.01 – Recreating the lab space
Future Work
Fig. 1.02 – Simulation results
Simulating the irradiation of both sides of the cylindrical target.
Plotting the 2D Dose distribution to maximize dose uniformity.
Calculating the G-Value =
Scoring electron density (Ns) directly.
Scene Tree